Department of Aeronautical Engineering

Question Bank (Part-B)

AE6702 EXPERIMENTAL STRESS ANALYSIS

Year/Sem: IV/VII

Unit 1 Extensometer and Displacement sensors

- State the basic requirements of mechanical extensometers and classify the mechanical extensometers depending upon the manner of obtaining magnification             (April May,19)

- Explain in detail with neat sketches the working of  the mechanical strain gauges

(Nov Dec’16)

- State and Explain the working principle of optical extensometer with neat sketch

(Nov Dec’18)

- With neat sketches the explain the principle and working of acoustical strain gauges write tis advantages and disadvantages also                                                                              (May June’07)

- What is laser displacement sensors? With neat diagram explain the working principle of Laser displacement sensor                                                                                                (Nov Dec’18)

- Describe  the different types of electrical strain gauges. Explain the working principle of a Capacitance strain gauge and give its uses and limitations                                        (Nov Dec’17)

- Neatly sketch a Huggenberger extensometer and label its parts. Obtain the magnification factor of this instrument                                                                                                 (April May’18)

- Briefly explain the ideal requirement of a measuring device                                   (April May’17)

- State the types of extensometer. Explain the working principle of Marten’s mirror extensometer with nest sketches                                                                                  (Nov Dec’17)

- Compare the relative advantages and disadvantages of the different categories of extensometers                                                                                                                   (Nov Dec’16)

Unit 2 Electrical Resistance strain gauges

- What is the necessity of temperature compensation? How this can be achieved?

(April May’18)

- Derive an expression for output voltage of wheat stone circuits for measuring strain

(April May’19)

- Explain the principle of operation of linear variable differential transformer with neat sketches. Also discuss its performance characteristics also                                     (May June’07)

- What are the basic characteristics of electrical resistance strain gauges and explain in detail about the bonded and un bonded strain gauges                                                        (Nov Dec’17)

- Derive expression for the cross sensitivity factor of an electrical resistance strain gauge with semi-circular bends                                                                                                           (Nov Dec’16)

- Explain the wheatstone circuit and potentiometer circuit with necessary equations for strain measurements                                                                                                                  (April May’19)

- The following readings of strain were obtained on  a rectangular strain rosette mounted on aluminium for which E=70 G pa, ν=0.3, ɛA= 1000µ, ɛB= 800µ, ɛC= 650µ. Determine the principal strains, principal strain directions, principal stresses and maximum shear stress.

(April May’17)

- A delta rosette yields the following strain indications ɛA= -845x10-6, ɛB= 1220x10-6, ɛC= 710x10-6. Calculate the maximum principal strain direction, principal stresses and maximum shear stress. E=200 Gpa and µ=0.285                                                                           (April May’17)

- Explain the working principle of Wheatstone bridge potentiometer with neat sketch

(Nov Dec’18)

- Using principal stresses obtained from rectangular rosette, show the expression for the maximum shear stress in the terms of the strains obtained a three element rectangular rosette                                                                                                                                   (Nov dec’16)

Unit 3 Photoelasticity

- Discuss on compensation and separation techniques in photoelasticity              (Nov Dec’18)

- What is mean by plane polariscope and explain the effect of a stressed model in a plane polariscope                                                                                                                      (April May’18)

- Discuss and explain in detail about isoclinics and isochromatics. Discuss their properties also

(Nov Dec’16)

- What are the important properties of an ideal photoelastic material? Discuss the important photoelastic materials.                                                                                                      (Nov Dec’16)

- What is mean by circular polariscope and explain the effect of a stressed model in a circular polariscope                                                                                                                          (Nov Dec’16)

- Explain fringe sharpening  and fringe multiplication techniques used in photoelasticity

(May June’07)

- Explain the calibration techniques for photoelastic materials                                  (Nov Dec’12)

- Discuss the various methods of obtaining polarized light and explain the concept of plane polariscope and explain the each components and their arrangements                (Nov Dec’17)

- Neatly sketch a circular polariscope arrangement for the stress evaluation in a photoelastic model. State the function of each optical element. On a single diagram, indicate the characteristic axes of each optical element. Clearly explain the symbols and notations used

(Nov Dec’12)

- Write the concept of light and explain the stress optic law

Unit 4 Brittle coating and Moire techniques

- Derive the expression for state of stress in a brittle coating in terms of the stresses in the specimen and the properties of the material                                                              (Nov Dec’12)

- Explain the Mohr theory of failure for Brittle coating stress                                    (Nov Dec’18)

- Discuss briefly about the brittle coating methods and its applications                  (Nov Dec’16)

- Explain in detail about Moire method of strain analysis, explain its types and list the advantages and disadvantages of it                                                                              (April May’19)

- Describe the various equipment necessary for stress analysis through brittle coating

(Nov Dec’18)

- What are the variables influencing the coating behaviour? Discuss in detail about them.

(Nov Dec’17)

- State and explain any two failure theories of brittle coating                                     (Nov Dec’17)

Unit 5 Non- Destructive Testing

- Compare the advantages and disadvantages of various methods of NDT             (Nov Dec’16)

- With a suitable sketch explain the process of Fluorescent penetrant technique.

(April May’19)

- Explain in detail about Acoustic emission technique                                                   (Nov Dec’16)

- With neat diagrams, explain the process of Radiography and write its advantages and disadvantages                                                                                                                   (April May’19)

- Explain in detail about thermography technique in NDT ans write its applications

(Nov Dec’16)

- Briefly explain the ultrasonic testing in NDT with its advantages and disadvantages

(April May,19)

- With neat sketches explain the eddy current testing in NDT                                   (April May’19)

- Describe the working principle of visual inspection in nod destructive testing method                                                                                  (Nov Dec’18)

Subject In Charge                                                                                                    HOD